| m MODEL HW250 |  |
| --- | --- |
| Heat Range (BTUH) | 280,000 |
| Fuel Use-USGPH | 1.33-2.0 |
| Electrical Voltage | 115 Volt |
| Amperage Draw (Operating) | 15.2 |
| Compressed Air Required | 2.5 CFM |
| PSI | 20 |
| Flue Size (In inches) | 8 |
| Cabinet Size WxLxH (In inches) | 36x52x34 |
| Width Overall (With Blower Installed) | 48 |
| Length Overall (With Blower Installed) | 74 |
| Height Overall (With Blower Installed) | 38 |
| Ductable | Yes |
| Air Movement Type | Belt Driven Blower |
| Blower CFM Free Air | 3950 |
| Blower Motor HP | 1HP |
| Plenum Dimensions | 23x25 |
| Hanging Mount | 5/8 in. Coupling Nuts – Top Mount |
| Weight ( with Blower and Burner) | 750 lbs |
| Shipping Weight (Approx.) | 835 lbs |
| Warranty | Parts 1 Year Chamber 10 Years |